Continuous Scans
Motion & acquisition during the continuous scan
Motion & acquisition during the step scan.
- Continuous scans give many benefits, but also their implementation is challenging.
- Numerous ad-hoc implementations were developed over years, but they are hard to reuse...
- What do we focus on?
  - Abstract access to the hardware
  - Generic synchronization description (hardware & software; time & position)
  - Common experiment configuration (step scan & continuous scan)
  - Transparent user experience with the scans: scan inputs and outputs.

---
Motion

---
Coordination & Actions
- Measurement Group contains channels and synchronizers
- Coordination using acquisition and synchronization actions
Measurement Group
Synchronization Action
Acquisition Action
Hardware Acquisition Action
Software Acquisition Action
ExpChan Ctrl#1
Ch#1
Ch#2
ExpChan Ctrl#2
Ch#1
ExpChan Ctrl#3
Ch#1
Ch#2
ExpChan Ctrl#4
Ch#1
Ch#2
TG Ctrl#1
Ch#1
Ch#2
SOFTWARE
SYNCHRONIZER
Ch#1

---
Latency time
Total
Active
user latency
ctrl#1 latency
ctrl#2 latency
Delay
Initial
Initial
- MG latency time – maximum of its controller latency times
- Controller’s latency time – time necessary for rearming
- Affects directly total interval (time) and indirectly motors' velocities.

---
Synchronization description
Repeats
Repeats
Total
Total
Active
Active
Delay
Initial
Initial
[{Delay: {Time: 0.3, Position: 400},
  Initial: {Time: None, Position: 0},
  Active: {Time: 0.1, Position: 10},
  Total: {Time: 0.15, Position: 15},
  Repeats: 1000},
 ...]
Group